## Estimate
Your business name |  |  |  | ESTIMATE
Street address |  |  | Estimate #
City, State ZIP |  |  | Date
Phone |  |  | Valid until
Email |  |  | Prepared by
License #
PREPARED FOR | JOB SITE
Client name | Job site address
Mailing address | City, State ZIP
City, State ZIP
Phone or email
SCOPE OF WORK
Description | Unit | Qty | Unit price | Amount | Note for you (not printed)
Equipment
Gas furnace 96 percent | ea |  |  |  | condensing unit, needs PVC venting and a condensate drain
Condensing unit 3 ton | ea |  |  |  | size from Manual J, not the old nameplate
Evaporator coil | ea |  |  |  | must AHRI-match the condenser
Smart thermostat | ea
Media filter cabinet | ea
Condensate pump | ea
|  |  | Section total | 0
Ductwork
Rigid duct trunk | lf
Flexible duct R8 | lf |  |  |  | runouts only, keep them short and pulled tight
Supply register | ea
Return grille | ea
Sheet metal boot | ea
Balancing damper | ea
|  |  | Section total | 0
Refrigerant, venting, and drains
Line set | lf |  |  |  | state new or reused, and flushed if reused
Line set cover | lf
Refrigerant R-410A | lb
PVC flue venting | lf
Condensate drain line | lf
Condenser pad | ea
|  |  | Section total | 0
Labor and commissioning
Lead installer labor | hr
Helper labor | hr
Startup, commissioning, and mechanical permit | ls |  |  |  | charge verification and static pressure documented
|  |  | Section total | 0
|  | Subtotal |  | 0
|  | Tax | 0% | 0
|  | Total |  | 0
|  | Deposit due at signing | 0% | 0
|  | Balance due on completion |  | 0
Payment schedule
Exclusions
Prices are good until the date above. Changes to this scope are priced and approved in writing before the work is done.
Accepted: signing below approves the scope, price and payment terms in this estimate.
Date
Client signature
Date
Contractor signature
Free template from Staxen, getstaxen.com